
**THIẾT KẾ KỸ THUẬT HỘP KÍN ĐẶT VÀ RÚT NKW CHO BN COVID-19**

**Design of CLOSED arcrylic box for intubation and extubation for COVID-19 patients**

**Vietnames Society of Anesthesiologists (VSA)**

*(Clip for intubation using the box and its instructions for use document (Vietnames only) are also availabe at VSA website or its FB at* <https://www.facebook.com/vnanesth.org/?ref=br_rs>*)*





|  |  |
| --- | --- |
| ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-101209/TK%20tam%20chu%20u%Transparent arcrylic plate 1350x560 mm bended as U shape | ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/02/20200402-144225/hop%20mica04.J  Front holes 100mm for intubator’s hands  Rightside hole 70mm for breathing circuit (filter is in side the box) |
| ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-101230/TK%20tam%20chu%2  “Peg-button” postions for to hold PVC covering leg-end of the box | ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-101129/Assem1copy.jpg  Transparent PVC 1,5mm thickness to close the box at the leg-end |
| ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-101247/TK%20Tphai.J  Right side hole 70mm for breathing circuit (filter is in side the box) | ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-101145/TK%20tam%20ben%20tr   * “Peg-button” position * Big hole 100mm: For assistant hand * Small hole 25mm: For continue suction tubular. |
| *../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/02/20200402-144122/hop%20mica08.J*  Transparent arcrylic “Peg-button” to hold PVC pice | /Users/tho/Pictures/Photos Library.photoslibrary/resources/media/master/00/00/fullsizeoutput_6.jpeg  Transparent PVC 1,5mm thickness to close all the holes |
| ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-121855/20200405_003506.jpg | Separated acrylic 604x500mm plate bended as U shape. Intubation for patients on operating table will need it (no need for ICU patients) |

|  |  |
| --- | --- |
| ../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-115806/20200405_162651%20(1).j  *A real box photo: Head-end of the box* | *../../../Pictures/Photos%20Library.photoslibrary/Masters/2020/04/05/20200405-115815/20200405_162816.jpg*  *A real box photo: Leg-end of the box* |